การวิจัยเครื่องมือแพทย์ที่ความเสี่ยงอย่างมีนัยสำคัญ

##### เครื่องมือแพทย์ทั่วไป

สายสวน (Catheters):

- Cardiology – diagnostic, treatment, transluminal coronary angioplasty, intra-aortic ballloon with control system

- Gastroenterology and Urology – biliary and urologic

- General Hospital – long-term percutaneous, implanted, subcutaneous and intravascular

- Neurology – cerebrovascular, occlusion balloon

- Collagen Implant Material for use in ear, nose and throat, orthopedics and plastic surgery

- Lasers for use in Ob/Gyn, cardiology, gastro-enterology, urology, pulmonary, ophthalmology and neurology

- Tissue Adhesives for use in neurology, gastro-enterology, ophthalmology, general and plastic surgery, and cardiology

##### วิสัญญีวิทยา

- Respiratory Ventilators

- Electro-anesthesia Apparatus

- Gas Machines for Anesthesia or Analgesia

- High Frequency Jet Ventilators greater than 150 BPM

##### หัวใจและหลอดเลือด

- Arterial Embolization Device

- Artificial Heart, permanent implant and short term use

- Cardiac Bypass Systems:  oxygenator, cardiopulmonary blood pump, ventricular assist devices

- Cardiac Pacemaker/Pulse Generator: implantable, external transcutaneous, antitachycardia, esophageal

- Cardiovascular/Intravascular Filters

- Coronary Artery Retroperfusion System

- DC-Defibrillators

- Implantable Cardioverters

- Laser Coronary Angioplasty Device

- Pacemaker Programmer

- Percutaneous Conduction Tissue Ablation Electrode

- Replacement Heart Valve

- Vascular and Arterial Graft Prostheses

##### ทางทันตกรรม

- Endosseous Implant

##### โสต ศอ นาสิก

- Cochlear Implant

- Total Ossicular Prosthesis Replacement

- Gastroenterology and Urology

- Anastomosis Device

- Endoscope and/or Accessories

- Extracorporeal Hyperthermia System

- Extrocorporeal Photophersis System

- Extracorporeal Shock-Wave Lithotriptor

- Kidney Perfusion System

- Mechanical/Hydraulic Impotence and Incontinence Devices

- Implantable Penile Prosthesis

- Peritoneal Shunt

##### ศัลยกรรมทั่วไปและศัลยกรรมพลาสติก

- Absorbable Hemostatic Agents

- Artificial Skin

- Injectable Silicone

- Implantable Prostheses:  chin, nose, cheek, ear

- Sutures

##### โรงพยาบาล

- Infusion Pumps:  Implantable and closed-loop, depending on infused drug

- Implantable Vascular Access Devices

##### ประสาทวิทยา

- Hydrocephalus Shunts

- Implanted Intracerebral/ Subcortical Stimulator

- Implanted Intracranial Pressure Monitor

- Implanted Spinal Cord and Nerve Stimulators and Electrodes

##### สูติศาสตร์และนรีเวชวิทยา

- Cervical Dilator

- Chorionic Villus Sampling Catheter, phase II (pregnancy continued to term)

- Contraceptive Devices:  tubal occlusion, cervical cap, diaphragm, intrauterine device (IUD) and introducer, and sponge

##### จักษุวิทยา

- Extended Wear Contacts Lens

- Intraocular Lens (investigations subject to 21 CFR 813)

- Eye Valve Implant

- Retinal Reattachment Systems: sulfur hexafluoride, silicone oil, tacks, perfluoropropane

##### ออร์โธปิดิกส์

- Implantable Prostheses:  ligament, tendon, hip, knee, finger

- Bone Growth Stimulator

- Calcium Tri-Phosphate/Hydroxyapatite Ceramics

- Xenografts

##### รังสีวิทยา

- Hyperthermia Systems and Applicators