# การวิจัยเครื่องมือแพทย์ที่ความเสี่ยงอย่างไม่มีนัยสำคัญ

ตัวอย่าง

- Bio-stimulation Lasers for treatment of pain

- Caries Removal Solution

- Daily Wear Contact Lenses and Associated Cleaners and Solutions

- Dental Filling Materials, Cushions or Pads made from traditional materials and designs

- Denture Repair Kits and Re-aligners

- Gynecologic Laparoscope and Accessories at power levels established prior to May 28, 1976 (excluding use in female sterilization)

- Externally worn Monitor for Insulin Reactions

- Jaundice Monitor for Infants

- Magnetic Resonance Imaging (MRI) Devices within specified physical parameters

- Menstrual Pads

- Menstrual Tampons of “old” materials (used prior to May 28, 1976)

- Non-implantable Male Reproductive Aids

- Ob/Gyn Diagnostic Ultrasound (within specified parameters)

- Transcutaneous Electric Nerve Stimulation (TENS) Devices for treatment of pain

- Wound Dressings, excluding absorbable hemostatic devices and dressings